## Details
Sample Name | U18-150z
IGSN | EVA00001X
Laboratory | University of Cincinnati
Analyst | Catherine Dunn
Mineral | zircon
Dosimeter Glass | IRMM541
Dosimeter Glass U ppm | 50
Irradiation | UC04z
Count Date | 09.05.2015
Locality | Gulf of Alaska
Rock Type | marine fan sediment
Rock Age
Acquisition system | Zeiss AxioImager microscope, Autoscan system
Magnification | 1000
Radiation Facility | Oregon State University
Total Thermal Neutron Fluence
Position in Irradiation Canister (#) | 14
Area of Graticule Square | 1e-06
No. of Crystals Counted | 105
Zeta Factor | 105
Zeta Factor Error (1s) | 1.6
Rho d | 421632.1
Rho d (% Relative Error) | 6.6
N d
Geometry factor (for EDM and Zeta ICPMS methods) | 0.5
Etchant | KOH | NaOH
Etching Conditions | 26h, 228ºC
Method - U | EDM
ICPMS Model
Laser Model and Type
Instrumental Method References
U Calibration Standard
U ppm of Standard
Specific Denisty of Dated Mineral
Avagadro Constant
Registration Factor (Rsp)
Etching Correction Factor (k)
ICPMS Zeta Standard
Standard Age
Standard Age Error
Primary Zeta
1 sigma Uncertainty
Session (Modified) Zeta
1 sigma (Modified) Uncertainty
Comment
Chemistry Method
Chemistry Laboratory
Chemistry Comment
238U Decay Constant | 1.5512e-10
238U Decay Constant Error
235U Decay Constant | 9.8485e-10
235U Decay Constant Error
232Th Decay Constant | 4.9475e-11
232Th Decay Constant Error
Spontaneous Fission Decay Constant | 8.46e-17
Spontaneous Fission Decay Constant Error
238U/235U | 137.88
Fission Decay Constant Reference | Spadavecchia , A. & Hahn, B. (1967). Die Rotationskammer und einige Anwendungen. Helvetica Physica Acta, 40, p. 1063-1079
Decay Constant References | Steiger, R.H. and Jager, E., 1977, Subcommission on geochronology | Convention on the use of decay constants in geo- and cosmochronology. Earth and Planetary Science Letters, v. 36, no. 3, p. 359-362
Decay Constant Comment

## Metadata
Sample ID | U18-150z
Sample Description
GeoObject Type | Core
Geoobject Classification
Collection Method | drill corer
Material | Sediment
Latitude | 58.7765
Longitude | -144.493
Sample Comment
Collector | John Jaeger
Material Classification
Primary Location Name | Gulf of Alaska
Primary Location Type | Ocean
Location Description
Locality
Locality Description
Country | United States
Provice | Alaska
County
City Or Township
Platform
Platform ID
Original Archival Institution
Original Archival Contact
Most Recent Archival Institution | University of Cincinnati
Most Recent Archival Contact | eva.enkelmann@uc.edu

## Ages
Grain_ID | Ns | Ni | Na | Dpar | Dper | Rmr0 | rhos | rhoi | rhos.rhoi | Area | nb_Etch_Figures | U238Ca43 | sU238Ca43 | U | sU | t | st.pos | st.neg | CaO | P2O5 | F | Cl | SrO | BaO | Si02 | Na2O | CeO2 | FeO | Total
1 | 15 | 2 | 4 |  |  |  | 3750000 | 500000 | [5 empty] | 59 | 37.5 | 154.4 | 678.05 | 19.15
2 | 42 | 25 | 4 |  |  |  | 10500000 | 6250000 | [5 empty] | 741 | 154.5 | 37.1 | 32.35 | 10.9
3 | 41 | 26 | 5 |  |  |  | 8200000 | 5200000 | [5 empty] | 616 | 126.5 | 34.9 | 30.25 | 10.25
4 | 31 | 4 | 2 |  |  |  | 15500000 | 2000000 | [5 empty] | 237 | 113 | 164.3 | 321.65 | 29.95
5 | 43 | 18 | 4 |  |  |  | 10800000 | 4500000 | [5 empty] | 533 | 129 | 52.6 | 49.3 | 14.7
6 | 77 | 17 | 15 |  |  |  | 5130000 | 1130000 | [5 empty] | 134 | 33.5 | 99.1 | 90.95 | 28.8
7 | 11 | 11 | 6 |  |  |  | 1830000 | 1830000 | [5 empty] | 217 | 65.5 | 22.2 | 28.45 | 4.3
8 | 50 | 27 | 4 |  |  |  | 12500000 | 6750000 | [5 empty] | 800 | 161.5 | 40.9 | 34.65 | 12.35
9 | 52 | 15 | 6 |  |  |  | 8670000 | 2500000 | [5 empty] | 296 | 77.5 | 76 | 73.9 | 20.9
10 | 42 | 10 | 3 |  |  |  | 14000000 | 3330000 | [5 empty] | 395 | 124.5 | 91.5 | 103.85 | 22.6
11 | 20 | 14 | 6 |  |  |  | 3330000 | 2330000 | [5 empty] | 276 | 75 | 31.6 | 34.25 | 7.5
12 | 5 | 12 | 3 |  |  |  | 1670000 | 4000000 | [5 empty] | 474 | 137.5 | 9.4 | 14.25 | 1.25
13 | 9 | 3 | 3 |  |  |  | 3000000 | 1000000 | [5 empty] | 118 | 64 | 64.1 | 187.1 | 8.25
14 | 99 | 49 | 20 |  |  |  | 4950000 | 2450000 | [5 empty] | 290 | 45.5 | 44.7 | 32.95 | 15.35
15 | 36 | 13 | 6 |  |  |  | 6000000 | 2170000 | [5 empty] | 257 | 72 | 60.8 | 63.45 | 15.65
16 | 37 | 6 | 4 |  |  |  | 9250000 | 1500000 | [5 empty] | 178 | 70.5 | 132.6 | 194.45 | 28.15
17 | 7 | 7 | 2 |  |  |  | 3500000 | 3500000 | [5 empty] | 415 | 154 | 22.2 | 37.25 | 3.3
18 | 42 | 18 | 12 |  |  |  | 3500000 | 1500000 | [5 empty] | 178 | 43 | 51.4 | 48.25 | 14.3
19 | 14 | 5 | 1 |  |  |  | 14000000 | 5000000 | [5 empty] | 592 | 255.5 | 60.7 | 109.4 | 10.45
20 | 10 | 9 | 4 |  |  |  | 2500000 | 2250000 | [5 empty] | 267 | 88.5 | 24.6 | 34.55 | 4.45
21 | 66 | 4 | 6 |  |  |  | 11000000 | 667000 | [5 empty] | 79 | 37.5 | 343.9 | 631.65 | 66.7
22 | 19 | 28 | 9 |  |  |  | 2110000 | 3110000 | [5 empty] | 369 | 73 | 15.1 | 14.2 | 3.9
23 | 43 | 19 | 6 |  |  |  | 7170000 | 3170000 | [5 empty] | 375 | 88.5 | 49.9 | 46.1 | 14.05
24 | 4 | 5 | 2 |  |  |  | 2000000 | 2500000 | [5 empty] | 296 | 128 | 17.9 | 41.35 | 1.75
25 | 11 | 3 | 2 |  |  |  | 5500000 | 1500000 | [5 empty] | 178 | 95.5 | 78.1 | 221.1 | 10.65
26 | 33 | 12 | 2 |  |  |  | 16500000 | 6000000 | [5 empty] | 711 | 206.5 | 60.3 | 65.15 | 15.1
27 | 2 | 1 | 1 |  |  |  | 2000000 | 1000000 | [5 empty] | 118 | 97 | 41.7 | 1102.95 | 1.15
28 | 40 | 20 | 6 |  |  |  | 6670000 | 3330000 | [5 empty] | 395 | 91 | 44.1 | 40.55 | 12.45
29 | 63 | 45 | 8 |  |  |  | 7880000 | 5630000 | [5 empty] | 666 | 108 | 31 | 23.8 | 10.2
30 | 43 | 14 | 10 |  |  |  | 4300000 | 1400000 | [5 empty] | 166 | 45 | 67.4 | 67.8 | 17.95
31 | 36 | 15 | 3 |  |  |  | 12000000 | 5000000 | [5 empty] | 592 | 155.5 | 52.8 | 52.75 | 14
32 | 13 | 4 | 4 |  |  |  | 3250000 | 1000000 | [5 empty] | 118 | 56.5 | 69.9 | 149.6 | 11.05
33 | 34 | 13 | 2 |  |  |  | 17000000 | 6500000 | [5 empty] | 770 | 215.5 | 57.4 | 60.25 | 14.7
34 | 83 | 22 | 9 |  |  |  | 9220000 | 2440000 | [5 empty] | 290 | 64 | 82.9 | 70.95 | 25.3
35 | 32 | 4 | 2 |  |  |  | 16000000 | 2000000 | [5 empty] | 237 | 113 | 169.5 | 330.9 | 31
36 | 157 | 33 | 30 |  |  |  | 5230000 | 1100000 | [5 empty] | 130 | 24 | 104.5 | 80.2 | 35.05
37 | 22 | 10 | 2 |  |  |  | 11000000 | 5000000 | [5 empty] | 592 | 187 | 48.3 | 58 | 10.95
38 | 41 | 5 | 4 |  |  |  | 10300000 | 1250000 | [5 empty] | 148 | 64 | 174.8 | 284.9 | 35.35
39 | 6 | 4 | 2 |  |  |  | 3000000 | 2000000 | [5 empty] | 237 | 113 | 32.9 | 79.9 | 3.9
40 | 57 | 22 | 6 |  |  |  | 9500000 | 3670000 | [5 empty] | 434 | 96 | 57.1 | 49.95 | 16.95
41 | 60 | 15 | 6 |  |  |  | 10000000 | 2500000 | [5 empty] | 296 | 77.5 | 87.6 | 84.4 | 24.4
42 | 115 | 29 | 15 |  |  |  | 7670000 | 1930000 | [5 empty] | 229 | 45 | 87.2 | 69.35 | 28.3
43 | 39 | 7 | 16 |  |  |  | 2440000 | 438000 | [5 empty] | 52 | 19 | 120.4 | 161.55 | 26.9
44 | 7 | 1 | 2 |  |  |  | 3500000 | 500000 | [5 empty] | 59 | 48.5 | 137.3 | 2377.5 | 9.9
45 | 14 | 6 | 1 |  |  |  | 14000000 | 6000000 | [5 empty] | 711 | 283 | 50.9 | 82 | 9.25
46 | 33 | 9 | 3 |  |  |  | 11000000 | 3000000 | [5 empty] | 355 | 117.5 | 79.9 | 96.45 | 18.75
47 | 41 | 22 | 4 |  |  |  | 10300000 | 5500000 | [5 empty] | 652 | 144 | 41.2 | 36.9 | 11.8
48 | 20 | 12 | 8 |  |  |  | 2500000 | 1500000 | [5 empty] | 178 | 51.5 | 36.8 | 41.8 | 8.5
49 | 1 | 4 | 6 |  |  |  | 167000 | 667000 | [5 empty] | 79 | 37.5 | 6.1 | 28.15 | 0.05
50 | 9 | 5 | 2 |  |  |  | 4500000 | 2500000 | [5 empty] | 296 | 128 | 39.4 | 75.7 | 5.95
51 | 53 | 11 | 4 |  |  |  | 13300000 | 2750000 | [5 empty] | 326 | 98.5 | 105 | 113.1 | 27.05
52 | 2 | 3 | 3 |  |  |  | 667000 | 1000000 | [5 empty] | 118 | 64 | 15.2 | 64.4 | 0.6
53 | 28 | 16 | 8 |  |  |  | 3500000 | 2000000 | [5 empty] | 237 | 60.5 | 38.6 | 38.8 | 10
54 | 4 | 1 | 1 |  |  |  | 4000000 | 1000000 | [5 empty] | 118 | 97 | 80.1 | 1674.5 | 4.35
55 | 30 | 12 | 5 |  |  |  | 6000000 | 2400000 | [5 empty] | 284 | 82.5 | 54.9 | 59.8 | 13.6
56 | 11 | 3 | 1 |  |  |  | 11000000 | 3000000 | [5 empty] | 355 | 191.5 | 78.1 | 221.1 | 10.65
57 | 48 | 24 | 6 |  |  |  | 8000000 | 4000000 | [5 empty] | 474 | 100.5 | 44.2 | 38.4 | 13.05
58 | 49 | 18 | 10 |  |  |  | 4900000 | 1800000 | [5 empty] | 213 | 51.5 | 59.9 | 55.55 | 16.95
59 | 15 | 8 | 2 |  |  |  | 7500000 | 4000000 | [5 empty] | 474 | 165.5 | 41.2 | 56.85 | 8.2
60 | 10 | 2 | 2 |  |  |  | 5000000 | 1000000 | [5 empty] | 118 | 75.5 | 103.9 | 485.55 | 11.7
61 | 74 | 21 | 7 |  |  |  | 10600000 | 3000000 | [5 empty] | 355 | 80 | 77.4 | 67.4 | 23.3
62 | 29 | 6 | 10 |  |  |  | 2900000 | 600000 | [5 empty] | 71 | 28.5 | 104.3 | 155.85 | 21.55
63 | 22 | 6 | 2 |  |  |  | 11000000 | 3000000 | [5 empty] | 355 | 141.5 | 79.4 | 121.6 | 15.8
64 | 5 | 11 | 1 |  |  |  | 5000000 | 11000000 | [5 empty] | 1303 | 394 | 10.3 | 15.9 | 1.35
65 | 4 | 5 | 6 |  |  |  | 667000 | 833000 | [5 empty] | 99 | 42.5 | 17.9 | 41.35 | 1.75
66 | 3 | 8 | 2 |  |  |  | 1500000 | 4000000 | [5 empty] | 474 | 165.5 | 8.6 | 17.5 | 0.7
67 | 29 | 7 | 1 |  |  |  | 29000000 | 7000000 | [5 empty] | 829 | 308 | 89.9 | 123.35 | 19.4
68 | 10 | 4 | 2 |  |  |  | 5000000 | 2000000 | [5 empty] | 237 | 113 | 54.1 | 119.95 | 7.95
69 | 28 | 13 | 3 |  |  |  | 9330000 | 4330000 | [5 empty] | 513 | 144 | 47.4 | 50.6 | 11.8
70 | 53 | 19 | 8 |  |  |  | 6630000 | 2380000 | [5 empty] | 281 | 66.5 | 61.4 | 55.85 | 17.65
71 | 25 | 12 | 3 |  |  |  | 8330000 | 4000000 | [5 empty] | 474 | 137.5 | 45.8 | 50.8 | 11.05
72 | 13 | 11 | 5 |  |  |  | 2600000 | 2200000 | [5 empty] | 261 | 79 | 26.2 | 32.6 | 5.35
73 | 8 | 8 | 1 |  |  |  | 8000000 | 8000000 | [5 empty] | 948 | 331 | 22.2 | 34.15 | 3.6
74 | 25 | 20 | 6 |  |  |  | 4170000 | 3330000 | [5 empty] | 395 | 91 | 27.7 | 26.7 | 7.3
75 | 11 | 3 | 3 |  |  |  | 3670000 | 1000000 | [5 empty] | 118 | 64 | 78.1 | 221.1 | 10.65
76 | 2 | 2 | 4 |  |  |  | 500000 | 500000 | [5 empty] | 59 | 37.5 | 22.2 | 150.45 | 0.8
77 | 48 | 40 | 9 |  |  |  | 5330000 | 4440000 | [5 empty] | 527 | 89.5 | 26.6 | 21.2 | 8.4
78 | 41 | 46 | 9 |  |  |  | 4560000 | 5110000 | [5 empty] | 606 | 97.5 | 19.8 | 15.75 | 6.2
79 | 10 | 6 | 2 |  |  |  | 5000000 | 3000000 | [5 empty] | 355 | 141.5 | 36.6 | 61.95 | 6.05
80 | 2 | 3 | 4 |  |  |  | 500000 | 750000 | [5 empty] | 89 | 48 | 15.2 | 64.4 | 0.6
81 | 28 | 7 | 4 |  |  |  | 7000000 | 1750000 | [5 empty] | 207 | 77 | 86.8 | 119.5 | 18.65
82 | 1 | 4 | 1 |  |  |  | 1000000 | 4000000 | [5 empty] | 474 | 225.5 | 6.1 | 28.15 | 0.05
83 | 10 | 11 | 3 |  |  |  | 3330000 | 3670000 | [5 empty] | 434 | 131.5 | 20.2 | 26.4 | 3.8
84 | 15 | 3 | 2 |  |  |  | 7500000 | 1500000 | [5 empty] | 178 | 95.5 | 105.8 | 288 | 15.5
85 | 8 | 6 | 3 |  |  |  | 2670000 | 2000000 | [5 empty] | 237 | 94.5 | 29.4 | 51.85 | 4.45
86 | 52 | 17 | 3 |  |  |  | 17300000 | 5670000 | [5 empty] | 671 | 166.5 | 67.2 | 63.05 | 18.95
87 | 26 | 8 | 4 |  |  |  | 6500000 | 2000000 | [5 empty] | 237 | 83 | 70.8 | 91.95 | 15.65
88 | 20 | 12 | 6 |  |  |  | 3330000 | 2000000 | [5 empty] | 237 | 69 | 36.8 | 41.8 | 8.5
89 | 39 | 12 | 12 |  |  |  | 3250000 | 1000000 | [5 empty] | 118 | 34.5 | 71.2 | 75.85 | 18.2
90 | 4 | 7 | 4 |  |  |  | 1000000 | 1750000 | [5 empty] | 207 | 77 | 12.9 | 25.1 | 1.35
91 | 8 | 9 | 4 |  |  |  | 2000000 | 2250000 | [5 empty] | 267 | 88.5 | 19.8 | 29 | 3.3
92 | 54 | 22 | 8 |  |  |  | 6750000 | 2750000 | [5 empty] | 326 | 72 | 54.1 | 47.5 | 16
93 | 26 | 12 | 2 |  |  |  | 13000000 | 6000000 | [5 empty] | 711 | 206.5 | 47.6 | 52.6 | 11.55
94 | 14 | 24 | 10 |  |  |  | 1400000 | 2400000 | [5 empty] | 284 | 60.5 | 13 | 13.25 | 3.05
95 | 45 | 12 | 4 |  |  |  | 11300000 | 3000000 | [5 empty] | 355 | 103 | 82 | 86.5 | 21.25
96 | 4 | 4 | 5 |  |  |  | 800000 | 800000 | [5 empty] | 95 | 45 | 22.2 | 59.55 | 2.05
97 | 18 | 1 | 3 |  |  |  | 6000000 | 333000 | [5 empty] | 39 | 32.5 | 342.7 | 4122.8 | 31.15
98 | 8 | 6 | 1 |  |  |  | 8000000 | 6000000 | [5 empty] | 711 | 283 | 29.4 | 51.85 | 4.45
99 | 60 | 50 | 10 |  |  |  | 6000000 | 5000000 | [5 empty] | 592 | 92 | 26.6 | 20.2 | 8.8
100 | 27 | 19 | 8 |  |  |  | 3380000 | 2380000 | [5 empty] | 281 | 66.5 | 31.4 | 30.35 | 8.3
101 | 25 | 8 | 5 |  |  |  | 5000000 | 1600000 | [5 empty] | 190 | 66 | 68.2 | 88.75 | 14.95
102 | 1 | 7 | 4 |  |  |  | 250000 | 1750000 | [5 empty] | 207 | 77 | 3.6 | 12.45 | 0.05
103 | 12 | 3 | 2 |  |  |  | 6000000 | 1500000 | [5 empty] | 178 | 95.5 | 85 | 237.95 | 11.85
104 | 7 | 5 | 2 |  |  |  | 3500000 | 2500000 | [5 empty] | 296 | 128 | 30.8 | 62.05 | 4.2
105 | 1 | 5 | 1 |  |  |  | 1000000 | 5000000 | [5 empty] | 592 | 255.5 | 4.9 | 19.95 | 0.05